## Sheet1
Central Research Facility, IIT Ropar
Details of Equipment under CRF
S. No. | Equipment Name | Make | Model | Year of Installation | Location | Faculty In-charge | Contact Person | Status of Equipment
1 | SEM | JEOL | 6610LV | 2010 | Multipurpose Lab, First Floor, CRF Building | Dr. Nitish Bibhanshu | Mr Amit Kaushal 01881-23-2567 sem@iitrpr.ac.in | Not working
2 | XRD (Powder) | Malvern Panalytical | Xpert Pro MPD | 2010 | Room No. 115, SS Bhatnagar Block | Dr. Rajiv Kumar | Mr.Kamlesh Satpute 01881-233053 pxrd.crf@iitrpr.ac.in | Working
3 | SPM | BRUKER | Multimode 8 SPM | 2011 | Multipurpose Lab, First Floor, CRF Building | Dr. Mukesh Kumar | Mr.. Harsimranjit Singh 01881-232565 spm@iitrpr.ac.in | Working
4 | High Temperature Furnace | NABERTHEM GERMANY | RHTH120/600/18 | 2014 | HTF lab, First Floor, CRF Building | Dr. Sarang Gumfekar | Mr. Harsimranjit Singh 01881-23-2563 htf.crf@iitrpr.ac.in | Working
5 | NMR (400 MHz) | JEOL | JNM-ECS-400 | 2013 | Room No. 114, SS Bhatnagar Block | Dr Manoj Kumar Pandey | Manish Kumar 1881-233052 nmr@iitrpr.ac.in | Working
6 | Nano Indenter | BRUKER | Hyistron TI 950 | 2016 | Multipurpose Lab, First Floor, CRF Building | Dr. Hariprasad Gopalan | Mr Harsimranjit Singh 01881-23-2566 nanoindenter@iitrpr.ac.in | Working
7 | Single Crystal XRD | BRUKER | D8Venture | 2013 | Room No. 115, SS Bhatnagar Block | Dr Debprasad Mandal | Kamlesh Satpute 1881-233053 scxrdadmin@iitrpr.ac.in | Down
8 | HRMS | WATER GMBH | YEA955 | 2017 | Room No. 106, SS Bhatnagar Block | Dr. Anupam Bandopadhyay | Mr Anuj Babbar 1881-233079 hrms@iitrpr.ac.in | Working
9 | UV-Visible | Perkin Elmer | Lamda 950 | 2018 | Room No. 105, First Floor, CRF Building | Dr. Neha Sardana | Mr. Damninder Singh 1881-232561 uv.vis.crf@iitrpr.ac.in | Working
10 | XPS | Thermo Scientific | ESCALAB Xi + | 2022 | Room No. 002, Ground Floor, CRF Building | Dr Mukesh Kumar | Mr.Manu Rana 01881-23-2555 crf.xps@iitrpr.ac.in | Working
11 | HR-TEM | Thermo scientific | Themis 300 kV | 2023 | Room No. 006, Ground Floor, CRF Building | Chairman CRF | Mr. Manish Kumar 01881-232554 tem300.crf@iitrpr.ac | Working
12 | Cryo-TEM | Thermo Scientific | Talos L120C G2 | 2023 | Room No. 004, Ground Floor, CRF Building | Chairman CRF | Mr. Manish Kumar 01881-232554 tem120.crf@iitrpr.ac.in | Working , Good
13 | LSCM | Zeiss | LSM 880 with Airyscan Fast Module | 2023 | Room No. 007, Ground Floor, CRF Building | Dr Durba Pal | Mr. Farooq Ahmed 01881-23-2556 crf.lscm@iitrpr.ac.in | Working
14 | FESEM | JEOL | JSM 7610F Plus | 2022 | Room No. 003, Ground Floor, CRF Building | Dr Prabhat Agnihotri | ABISHEK SHARMA 01881-23-2557 crf.fesem@iitrpr.ac.in | Working
15 | NMR (600 MHz) | JEOL | JNM ECZ600R/ M3 | 2019 | Room No. 114,SS Bhatnagar Block | Dr Manoj Pandey | Mr.Manish Kumar 01881-233052 nmr600.crf@iitrpr.ac.in | Working
16 | RAMAN Spectroscopy | Horiba France | LABH Rev-UV-open | 2019 | Multipurpose Lab, First Floor, CRF Building | Dr. Tharamani C. Nagaiah | Mr. Damninder Singh 1881-232564 ramancrf@iitrpr.ac.in | Working
17 | Metal 3D Printer | EOS GmBh | Model-EOS M 290 | 2021 | Room No: 114, SDB, Mechanical Department | Dr. Anupam Aggarwal | Mr. Varinder Dhiman Mob: 9646910813 metal3dprint.crf@iitrpr.ac.in | Working
18 | Atomic Probe Tomography (APT) At IIT Madras | cameca | Cameca LEAP 5000 XR Voltage &Laser Pulse Mode | 2017 | IIT Madras | Dr. Khushboo Rakha | Mr Amit Kaushal 01881-232562 crf.nfapt@iitrpr.ac.in | Working
19 | Maskless Lithography | Quantum Design | MicroWriter ML3 | 2024 | Lab 1, Clean Room, CMNF | Dr Rakesh Kumar | Ms. Shital Chaudary 01881-232570 bookings.cmnf@iitrpr.ac.in | Working
20 | LPCVD | Technos Instruments | Technos | 2024 | Lab 4, Clean Room, CMNF | Dr P K Agnihotri | Ms. Shital Chaudary 01881-232572 bookings.cmnf@iitrpr.ac.in | Working
21 | Sputtering System | Advance Process Technology | Custom Made | - | Clean Room, CMNF (Uninstalled) | Dr Mukesh Kumar |  | Not Working
22 | Oxidation and Diffusion Furnace | ATV | PEO-601 | - | Clean Room, CMNF (Uninstalled) | Dr Rakesh Kumar |  | Not Working
23 | Optical Microscope | Carl Zeiss | Upright Optical | 2024 | Lab 1, Clean Room, CMNF | Dr K C Jena | Ms. Shital Chaudary 01881-232570 bookings.cmnf@iitrpr.ac.in | Working